## Sheet1
Assumption | Wind-Specific | Current Level of Support | Type of Support | Supporting Datasets | Areas for Improvement | Future Work
Turbine Performance (Current) | TRUE | Very Well Supported | Empirical + Analysis | [ need this info from Robert ] | None | Review by TRC
Turbine Performance (Future) | TRUE | Well Supported | Empirical + Engineering Judgment + Analysis | [ list the same datasets as for current?] | None | Review by TRC
Turbine Performance Improvement Schedule (Future) | TRUE | Poorly Supported | Engineering Judgment | None?? | Short- and long-term projections of technology change under different scenarios | Perform additional research/interviews with industry contacts Develop internal consensus on tech improvement schedules for four scenarios Review by TRC
Installation Costs (Current) | TRUE | Well Supported | Empirical + Analysis | US Department of Treasury 1603 [ need additional dataset references from Robert ] | Marginal tower height costs for mid-size turbines | Additional research into mid-size turbine marginal tower costs Review by TRC
Installation Costs (Future) | TRUE | Poorly Supported | Empirical (short-term) Engineering Judgment (long-term) | [ Need this info from Robert -- I think he did some interviewss to support this] | Additional support for short-term (2014-2020) projections Long-term (post-2020) projections under different scenarios | Perform additional research/interviews with industry contacts Develop internal consensus on schedules for four scenarios Review by TRC
O&M Costs (Current) | TRUE | Well Supported | Empirical + Analysis | [ Need this info from Robert ] | Unscheduled maintenance costs at the extremes of turbine sizing (<10 kw, > 500 kw) Additional data points throughout size classes | Additional data collection and interviews, focused on extreme size classes If data supports, split at 50-100 kw and fit separate O&M cost regressions Review by TRC
O&M Cost (Future) | TRUE | Poorly Supported | Engineering Judgment | None?? | Long-term (post-2020) projections | Perform additional research/interviews with industry contacts Develop internal consensus on cost schedules for four scenarios Review by TRC
Financing (Current) | TRUE | Very Well Supported | Empirical + Engineering Judgment | [ need this info from Ben ] | Wind-specific lessor hurdle rates | Additional data collection from current wind lessors Review by TRC
Financing (Future) | TRUE | Poorly Supported | Engineering Judgment | None?? | Long-term financing projections | Consult with other NREL financial experts to develop long-term projections Develop internal consensus on financing schedules for four scenarios Review by TRC
Incentives (Current and Future) | TRUE | Poorly Supported | Empirical | DSIRE Database | State and local incentives | Replace/update DSIRE database with PNNL policy data Develop internal consensus on incentive expiration/renewal schedules for four scenarios Review by TRC
Electricity Rates and Rate Escalations (Current and Future) | FALSE | Very Well Supported | Empirical + Analysis | Utility Rate Database (URDB) AEO 2014 and 2015 Reference Cases | None | Review by TRC
Net Metering (Current and Future) | FALSE | Very Well Supported | Empirical + Analysis | Barnes et al. (2013) dSolar Reference Case model projections | None | Possibly update projected NEM expiration years by state with more recent dSolar/dWind reference case model results Review by TRC
Maximum Market Share Curves (Current and Future) | FALSE | Very Well Supported | Empirical | Paidipati et al. (2008) Sigrin and Drury (2014) Sunshot Vision Study (2012) | None | Possibly update MMS curve for leasing Review by TRC
Load Growth (Current) | FALSE | Very Well Supported | Empirical | AEO 2014 and 2015 Scenarios | None | Develop internal consensus on which AEO scenarios to use for four dWind model scenarios Review by TRC