## Algorithms
Algorithm (In order of model flow) | Wind-Specific | Summary | Supporting Datasets/Studies | Major Assumptions
Populating Model Agents | No | Agents in the model are populated by stochastically sampling from a high-resolution geospatial grid of potential customer locations which is pre-attributed with various location-specific attributes (e.g., wind resource, siting restrictions, utility type, state/local incentives, etc.). Customer electricity consumption (annual) is populated stochastically from EIA microdata and scaled to match aggregate county-level electric consumption. | LandScan (ORNL, 2011) HSIP (2012) Ventyx (2012) EIA RECS and CBECS EIA 861 Other datasets noted in the documentation and below | The main assumption is that a stochastic sampling framework can be used to capture statistically representative agents for the model, given uncertainties in the various supporting datasets.
Siting Constraints | Yes | Allowable turbine heights and sizes for each agent are constrained by three local factors: parcel size, degree of existing land development, and nearby tree canopy density and height. | National Land Cover Dataset (2011) US Census Block Housing Units (2010) National Biomass and Carbon Dataset (2012) | Thresholds for allowable turbine heights for each factor are a user-defined model input. Defaults were set based on input from DWEA members and NREL engineering judgment.
Agent System Sizing | Yes | Wind systems are sized based on modeled system generation as percent of each agent's annual electricity consumption. Due to discrete turbine sizes, the model also includes an "oversize" limit -- e.g., systems cannot be sized to produce more than 110% of the customer's electricity consumption. Target sizes and oversize limits are customizable by sector and for net-metering and non-non-metering. | NYSERDA wind incentive program project dataset | Default target system sizes are 75 percent of customer load (with net-metering) and 50 percent of customer load (without net-metering) for all sectors. Oversize targets are 110 and 100 percent for customers with and without net-metering, respectively.
Wind Resource | Yes | Wind resource is calculated based on TMY wind speed data at multiple hub heights for 20 km grid cells across the country. This data is downscaled to 200 m grid cells using a 200 m grid of annual gross capacity factor data. Generation potential for various power curves at various heights is modeled using a script developed the NWTC. | AWS TruePower (2012) | TMY data are provided at 30, 50, and 80 m hub heights. To model generation at 20 and 40 m hub heights, we apply a wind shear adjustment according to Elliott et al. (1986), with the alpha value derived empirically by location using the 30 and 50 m hub height wind speeds.
Bill Savings | No | Bill savings are calculated using NREL's System Advisory Model (SAM) utilityrate3 module. Savings from offsetting energy consumption are based on a bottom-up calculation of the potential bill savings including, where applicable, fixed charges, seasonal rates, tiered rates, time-of-use (TOU) rates, and demand charges. Value from excess generation is based on the credit received for energy exported to the grid during hours when system generation exceeds consumption. | Utility Rate Database Barnes et al. (2013) | Utility rates are assigned to agents based on sector, state, demand limits for each rate, and proximity. We assume full net metering is valued based on a net feed-in-tariff.
Cash Flow Analysis | No | The economic value of a system to each model agent is assessed using a formal cash flow analysis over the system lifetime. The main components of this analysis are: system payments (based on financing model), O&M costs, revenue from generation, revenue from depreciation (commercial, industrial, and leased residential), revenue from interest deductions (commercial, industrial, and leased residential), and revenue from incentives. From the cash flows, a number of standard metrics are outputted, including net present value, internal rate of return, and payback period. | No Specific studies or assumptions for the algorithm, see data assumptions summary for specific inputs by case | Each agent evaluates the lifetime costs and revenues associated with system ownership/leasing. The major components are: i) Capital costs, either loan or lease payments; ii) Costs from variable and fixed O&M; iii) Revenue from system generation i.e. electricity bill savings; iv) Revenue from capital depreciation (non-residential only); v) Revenue from deduction of interest on loans (non-residential only); Revenue from federal and local incentives. Each source of revenue and cost is included in a discounted cash flow model, which returns a number of standard financial metrics—NPV, IRR, LCOE, Payback Period.
Selection of Business Model | No | For agents with the ability to adopt via host or third-party ownership, dGen can evaluate both options and select the business model that is more economically attractive as measured by the nete present value. This decision is based on a probabilistic method. | No Specific studies or assumptions applicable | The model assumes that agents have some probability of selecting the economically inferior business model, with the likelihood scaled to the relative economic attractiveness.
Maximum Market Share | No | Economic attractiveness of wind adoption is converted into a maximum market share during each time step. Maximum market share determines the maximum fraction of eligible agents who would eventually adopt if economics were to remain unchanged. The relationships between economic attractiveness and maximum market share are based on "maximum market share curves" derived by other studies. | Paidipati et al. (2008) Sigrin and Drury (2014) Bass (1969) Rogers (2003) | Current parameterization of the maximum market share assumes that, for host-owned systems, residential agents evaluate the economic attractiveness based on the system payback period (time to recoup the initial investment), whereas commercial and industrial customers use the internal rate of return
Diffusion of Technology | No | The diffusion of technology in dGen is based on the Bass Diffusion of Innovation framework. Adoption in this framework follows a logistic "S-curve" over time. The height of this curve is scaled in the model to fit the maximum market share, and adoption patterns accelerate or decelerate over time according to the height of the curve, as well as classic Bass diffusion equations described in section 5.2 of the documentation. | Bass (1969) Rogers (2003) SolarDS Forsyth, T.; Tombari, C.; Nelson (2008) | The model is initialized with historical diffusion levels consistent with deployment through 2012, where 2013-2015 are simulated for calibration purposes. At each subsequent time step, diffusion levels are updated to reflect the incremental diffusion during the previous time step, and financial calculations are updated to reflect changing market and technology factors. Additionally, diffusion-specific parameters may be specified by state and sector to calibrate modeled results to near-term market expectations.

## Parameter methodologies
Assumption | Wind-Specific | Current Level of Support | Type of Support | Basic Description | Supporting documents | Areas for Improvement | Future Work | Best case | Most likely case | BAU case | Worst case | Sensitivity options
Turbine Performance (Current) | Yes | Very Well Supported | Empirical + Analysis | Use family of normalized power curves (Figure 14) and turbine specific power values for four general size ranges - going from 326 W/m^2 for residential through 204 W/m^2 for utility scale. (Table 6) | Current industry data for turbine range (2.5kW through 1500 kW used) including discussions with industry on current (2015) models | None | Review by TRC | Current performance | Current performance | Current performance | Current performance
Turbine Performance (Future) | Yes | Well Supported | Empirical + Engineering Judgment + Analysis | Turbine specific power values for four general size ranges improve over time, all converging to 192 W/m^2 which is defined by the Utility scale reference turbines for the Wind Vision. | The Reference turbine for the Wind Vision anchors performance for the large wind turbine and all other turbine sizes converge on this specific power over time. | None | Review by TRC | Small wind converges with large wind earlier in the simulation period | Small wind converges with large wind later in the simulation period | Minimal improvements - need to define | No improvement
Turbine Performance Improvement Schedule (Future) | Yes | Poorly Supported | Engineering Judgment | Turbine specific power values improve based on a defined schedule. Turbines also step through to more aggressive power curves over a user defined development schedule that can be defined in 2 year increments | The rate through which technology improvement occurs has limited scientific backing. Near term specific power assumptions based on CIP awardee expected technology improvements. | Short- and long-term projections of technology change under different scenarios | Perform additional research/interviews with industry contacts Develop internal consensus on tech improvement schedules for four scenarios Review by TRC | Small wind converges with large wind earlier in the simulation period | Small wind converges with large wind later in the simulation period | Minimal improvements - need to define | No improvement
Total System Costs (Current) | Yes | Very Well Supported | Empirical + Analysis | Using current data for project installations and the median tower height. Procedure documented in figure 16 of dGen document. Scale factor applied if a taller or lower tower is identified base on siting constraints. See Table 14 of the dGen Documentation for total installed costs. | US Department of Treasury 1603 Discussion with manufactures, developers, and tower suppliers | Marginal tower height costs for mid-size turbines | Additional research into mid-size turbine marginal tower costs Review by TRC | Current cost assumptions | Current cost assumptions | Current cost assumptions | Current cost assumptions
Total System Costs (Future) | Yes | Poorly Supported | Empirical (short-term) Engineering Judgment (long-term) | Total turbine installed costs are reduced over time for each of 11 turbine sizes starting at current values and maintaining a constant ratio between sizes with the large turbine mimicking Wind Vision cost projections. Maintain principle that larger turbines will be inherently less expensive. Values can be defined for every other year for each turbine size. | The Reference turbine for the Wind Vision anchors cost for the large wind turbine with others maintaining current cost ratio through 2050 | Additional support for short-term (2014-2020) projections Long-term (post-2020) projections under different scenarios | Perform additional research/interviews with industry contacts Evaluate other cost curve projection approaches such as Learning Curve. Develop internal consensus on schedules for four scenarios Review by TRC |  |  | Modest cost reductions - need to define | No cost reductions
O&M Costs (Current) | Yes | Well Supported | Empirical + Analysis | Costs broken out between scheduled and unscheduled maintenance and is broken out in the 11 different turbine sizes on a $/kW/year basis. Larger turbines have a lower per kW maintenance cost. See Table 15 of the dGen Documentation | Cost estimates for scheduled maintenance based on discussions with industry and turbine lease organizations proof tested against maintenance manuals. Unscheduled maintenance costs are much harder to assess for DW, data taken from discussions with lease companies on their assumptions for future maintenance costs | Unscheduled maintenance costs at the extremes of turbine sizing (<10 kw, > 500 kw) Additional data points throughout size classes | Additional data collection and interviews, focused on extreme size classes If data supports, split at 50-100 kw and fit separate O&M cost regressions Review by TRC | Current cost assumptions | Current cost assumptions | Current cost assumptions | Current cost assumptions
O&M Cost (Future) | Yes | Poorly Supported | Engineering Judgment | Total turbine maintenance costs are reduced over time for each of 11 turbine sizes starting at current values with increased cost performance assumed for smaller turbines as this technology has not undergone the same level of reliability improvements | Very limited | Long-term (post-2020) projections | Perform additional research/interviews with industry contacts Develop internal consensus on cost schedules for four scenarios Review by TRC |  |  | Modest cost reductions - need to define | No cost reductions
Financing (Current) | Yes | Very Well Supported | Empirical + Engineering Judgment | Assumes everybody has access to financing and uses different assumptions for Residential, Commercial and Industrial clients. Basic parameters include payment length, down payment amount, and interest rate. Can be applied as either host owned or leased. | Quite standard methodology - however comes at it from a consumer simple payback or monthly bill comparison as compared to a full life cycle cost analysis such as ReEDS | Wind-specific lessor hurdle rates | Additional data collection from current wind lessors Review by TRC | Current cost assumptions | Current cost assumptions | Current cost assumptions | Current cost assumptions
General | No | Very Well Supported | Empirical + Engineering Judgment | All calculations include discount rate and tax rates, both of which seem to have limited impact on final calculations | Standard references for market models
Residential | Yes | Very Well Supported | Empirical + Engineering Judgment | Tied to 20 year home equity loan + higher hurdle plus-up to cover risk. Assume 15 year term and 20% down | Discussions with DW industry on current practices |  |  | 20% down, 5% financing, 15 year
Commercial | Yes | Very Well Supported | Empirical + Engineering Judgment | Public market rate for a 20 year AA Corporate + higher hurdle plus-up. Assume 40% down payment and 15 year loan. | Discussions with DW industry on current practices |  |  | 40% down, 5.25% financing, 15 year
Industrial | Yes | Well Supported | Empirical + Engineering Judgment | Public market rate for a 20 year AA Corporate + higher hurdle plus-up. Assume 40% down payment and 15 year loan. | Discussions with DW industry on current practices (limited data) | More data on specific industrial wind projects would be useful | Research and expanded dialog with implementers of larger DG applications | 40% down, 5.25% financing, 15 year
Leasing | Yes | Well Supported | Empirical + Engineering Judgment | Residential (20 year lease, 0 down) - Lease payment based on a defined hurdle rate | Current hurdle rates based on solar lease conference provided by CEC (Davidson et. al. 2014) Discussions with DW leasing organizations Research of current solar market (2013-2014) | Expanded content would be useful |  | 0% down, 7% hurdle, 20 year lease
Financing (Future) | Yes | Poorly Supported | Engineering Judgment | All of the same principles apply and can be changed every model time step (2 years) for Residential, Commercial, and Industrial clients. Rates are currently at historic lows, should likely adjust up to reflect market trends | Could bound best and worst case with historical trends | Long-term financing projections. | Consult with other NREL financial experts to develop long-term projections Develop internal consensus on financing schedules for four scenarios Review by TRC
General | No | Very Well Supported | Empirical + Engineering Judgment | Rates change over time | Standard references for market models | Look at current terms and then higher rates to dependent on risk - risk premium is reduced over time.
Residential | Yes | Poorly Supported | Engineering Judgment | Rates change over time | Can converge on current or future solar financing assumptions for similarly sized systems | Really a question of how close to the solar market DW will track | Comparison, if possible, to distributed solar market development and financing history
Commercial | Yes | Poorly Supported | Engineering Judgment | Rates change over time | Can converge on current or future solar financing assumptions for similarly sized systems | Really a question of how close to the solar market DW will track | Comparison, if possible, to distributed solar market development and financing history
Industrial | Yes | Poorly Supported | Engineering Judgment | Rates change over time | Can converge on current or future solar financing assumptions for similarly sized systems | Really a question of how close to the solar market DW will track | Comparison, if possible, to distributed solar market development and financing history
Leasing | Yes | Poorly Supported | Engineering Judgment | Rates change over time | Can converge on current or leasing solar financing assumptions for similarly sized systems | Really a question of how close to the solar market DW will track | Comparison, if possible, to distributed solar market development and financing history
Policy (Current and Future) | Yes | Well Supported though assumptions on when incentives will stop is needed | Empirical | Applies current on a state or finer granularity. | DSIRE Database 2015 PNNL update | State and local incentives | Replace/update DSIRE database with PNNL policy data Develop internal consensus on incentive expiration/renewal schedules for four scenarios Review by TRC
Net Metering (Current and Future) | No | Well Supported | Empirical + Analysis | Outside of net metering - energy sales to utility at wholesale rate Systems size offset for turbine selection set at 75% of energy consumption w/NEM, 50% w/o NEM | Barnes et al. (2013) dSolar Reference Case model projections PNNL 2015 update for Policy Tool | Recent papers on community solar to understand on the potential impact of increasing net metering caps | Possibly update projected NEM expiration years by state with more recent dSolar/dWind reference case model results Review by TRC | Extension of current state caps with potential increase in ceiling plant size | Phase out with state caps or in 2030 | Phase out with state caps or in 2030 | Phase out with state caps or in 2030 | Full retail credit through 2050, systems offset 75% consumption
State Incentives (Current and Future) | No | Well Supported | Empirical + Analysis | Use current policy with a sunset date | dSolar Reference Case model projections PNNL 2015 update for Policy Tool | None | Possibly update projected NEM expiration years by state with more recent dSolar/dWind reference case model results Should plot current incentives Review by TRC | All state incentives ends in 2024 | All state incentives ends in 2024 | All state incentives ends in 2024 | All state incentives ends in 2018
ITC | No | Very Well Supported | Defined | Can adjust amount over time - currently ITC modeled to end in 2016 for residential and revert to for 10% for commercial and industrial |  |  |  | Extension till XX | Existing Federal policy (ITC ends in 2016 except for 10% commercial & industrial) | Existing Federal policy (ITC ends in 2016 except for 10% commercial & industrial) | Existing Federal policy (ITC ends in 2016 except for 10% commercial & industrial) | Extension of the ITC (20, 30, 40)
Electricity Rates and Rate Escalations (Current and Future) | No | Very Well Supported | Empirical + Analysis | AEO regional rate escalation calculations go through 2040, need to extend rates through project life, up to 2070 | Utility Rate Database (URDB) AEO 2014 and 2015 Reference Cases | None | Review by TRC | Rate escalation continues after 2040 | Rate escalation continues after 2040 | Rate escalation continues after 2040 | No rate escalation after 2040
Diffusion Curves (Current and Future) | No | Very Well Supported | Empirical | Standard diffusion curves are used to predict market acceptance on a state basis (could be developed using higher resolution) | Paidipati et al. (2008) Sigrin and Drury (2014) | None | Possibly update MMS curve for leasing Review by TRC
Maximum Market Share | Yes | Well Supported | Empirical | Currently use solar data, could adjust for wind adoption rates since they have different parameters | Sunshot Vision Study (2012) | Need data for DW | Develop maximum values specifically to DW Implement curves for each state (p & q) Graph for PV and current data for wind
Load Growth (Current) | No | Very Well Supported | Empirical | Assumes average load growth per consumer based on regional AEO data. Does not account for power system wide load growth. | AEO 2014 and 2015 Scenarios | None | Develop internal consensus on which AEO scenarios to use for four dWind model scenarios Review by TRC
Note on H6: NREL: Added evaluation of other cost projection approaches.
Note on A21: NREL: what is the difference between policy and incentives? Seems like the same thing here.