
**Notes on deriving sensitivity of excess generation factor to system sizing**

*See sensitivity\_of\_excess\_gen\_to\_sizing.R for more detail*

This script calculates the sensitivity of the excess generation factor to relative sizing of annual generation to load. The original calculation assumes that sum(hourly\_gen) = sum(hourly\_load) for an annual time series. That value is the excess\_generation factor. However, how does that value change is the system is smaller or larger?

=> I find that the relationship is roughly linear when generation is bounded by 50% to 115% of annual load. The relationship is excess\_gen\_factor = 0.31 \* (gen/load) + 0.25

=> Another takeaway from this is that even at a small sizing (50%), roughly 40% of energy is still spilled



To calculate the sensitivity, I simulate possible load and generation profile 2000 times. For generation profiles I sample from AWS 8760 profiles that we use in the model. For load, I assume a weibull distribution of moment = 1, shape = 1. In each simulation the sum of annual load is scaled randomly from 40% to 120% of sum of annual generation.